## 总体概况
项目 | 结果
起始时间 | 2025-01-01 07:00
结束时间 | 2026-04-01 05:00
观测行数 | 5460
重复时间戳原始行数 | 0
非2小时时间间隔数 | 0
反冲洗相关记录数 | 216
出厂水浊度超过1 NTU记录数 | 179

## 缺失值
变量 | 原始缺失数 | 原始缺失率 | 短缺口插值后缺失数 | 短缺口插值后缺失率
river_level | 236 | 0.043223 | 36 | 0.0065934
raw_water_flow | 11 | 0.0020147 | 1 | 0.00018315
raw_water_ntu | 1 | 0.00018315 | 0 | 0
raw_water_color | 1 | 0.00018315 | 0 | 0
raw_water_ph | 1644 | 0.3011 | 1644 | 0.3011
filtered_ntu | 0 | 0 | 0 | 0
clear_well_level | 2 | 0.0003663 | 0 | 0
treated_ph | 1644 | 0.3011 | 1644 | 0.3011
treated_ntu | 341 | 0.062454 | 341 | 0.062454
treated_color | 2 | 0.0003663 | 0 | 0
chlorine_residual | 1726 | 0.31612 | 1710 | 0.31319
alum_feed_rate | 4132 | 0.75678 | 4126 | 0.75568
alum_dosage | 1645 | 0.30128 | 1644 | 0.3011
treated_water_flow | 16 | 0.0029304 | 0 | 0
tank_18ml_level | 5460 | 1 | 5460 | 1
tank_18ml_flow | 5460 | 1 | 5460 | 1

## 异常点
变量 | Hampel异常点数 | 异常点比例
river_level | 82 | 0.015018
raw_water_flow | 79 | 0.014469
raw_water_ntu | 146 | 0.02674
raw_water_color | 182 | 0.033333
raw_water_ph | 0 | 0
filtered_ntu | 109 | 0.019963
clear_well_level | 312 | 0.057143
treated_ph | 0 | 0
treated_ntu | 149 | 0.027289
treated_color | 0 | 0
chlorine_residual | 1 | 0.00018315
alum_feed_rate | 10 | 0.0018315
alum_dosage | 0 | 0
treated_water_flow | 107 | 0.019597
tank_18ml_level | 0 | 0
tank_18ml_flow | 0 | 0
raw_water_pump_count | 0 | 0
treated_water_pump_count | 0 | 0

## 时间缺口
timestamp | sampling_gap_hours | source_file | source_sheet

## 字段可用性
source_file | available_time_raw | available_river_level | available_raw_water_pump_duty | available_raw_water_flow | available_raw_water_ntu | available_raw_water_color | available_raw_water_ph | available_filtered_ntu | available_clear_well_level | available_treated_ph | available_treated_ntu | available_treated_color | available_chlorine_residual | available_alum_feed_rate | available_alum_dosage | available_treated_water_pump_duty | available_treated_water_flow | available_tank_18ml_level | available_tank_18ml_flow | available_remarks
2026年1月.xls | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
2026年2月.xls | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
2026年3月.xls | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
JBALB_Apr2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
JBALB_Aug2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE
JBALB_Dec2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
JBALB_Feb2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
JBALB_Jan2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
JBALB_July2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE
JBALB_Jun2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE
JBALB_Mar2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
JBALB_May2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | TRUE | FALSE | FALSE | TRUE
JBALB_Nov2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
JBALB_Oct2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
JBALB_Sep2025.xlsx | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE

## 反冲洗事件
timestamp | filtered_ntu | treated_ntu | remarks | source_file | source_sheet
2025-01-01 11:00 | 0.05 | 0.12 | B/W No.4,6 | JBALB_Jan2025.xlsx
2025-01-01 23:00 | 0.05 | 0.12 | B/W filter no. 2&5 (10.00pm) | JBALB_Jan2025.xlsx
2025-01-02 13:00 | 0.05 | 0.13 | B/W no 1&3 | JBALB_Jan2025.xlsx
2025-01-03 15:00 | 0.09 | 0.11 | B/W no 2 | JBALB_Jan2025.xlsx
2025-01-03 23:00 | 0.03 | 0.12 | B/W filter no 6 (10.00pm) | JBALB_Jan2025.xlsx
2025-01-04 09:00 | 0.03 | 0.14 | B/W no. 3/4 | JBALB_Jan2025.xlsx
2025-01-04 15:00 | 0.06 | 0.11 | B/W fil. 5 | JBALB_Jan2025.xlsx
2025-01-04 19:00 | 0.06 | 0.12 | B/W fil. 1 | JBALB_Jan2025.xlsx
2025-01-05 15:00 | 0.03 | 0.12 | B/W no. 2 | JBALB_Jan2025.xlsx
2025-01-06 07:00 | 0.03 | 0.13 | B/W no.3 | JBALB_Jan2025.xlsx
2025-01-06 13:00 | 0.03 | 0.11 | B/W no.6 | JBALB_Jan2025.xlsx
2025-01-07 05:00 | 0.06 | 0.13 | B/W | JBALB_Jan2025.xlsx
2025-01-07 07:00 | 0.06 | 0.13 | B/W fil. 2 | JBALB_Jan2025.xlsx
2025-01-07 15:00 | 0.03 | 0.14 | B/W filter no. (2.00pm) | JBALB_Jan2025.xlsx
2025-01-08 17:00 | 0.03 | 0.14 | B/W filter no.3 (4.30pm) | JBALB_Jan2025.xlsx
2025-01-09 07:00 | 0.06 | 0.13 | B/W fil. 2 | JBALB_Jan2025.xlsx
2025-01-09 13:00 | 0.03 | 0.17 | B/W filter no.6 (2.00pm) | JBALB_Jan2025.xlsx
2025-01-10 07:00 | 0.03 | 0.13 | B/W Fil. 1,4,5 | JBALB_Jan2025.xlsx
2025-01-11 05:00 | 0.04 | 0.14 | B/W No 3 | JBALB_Jan2025.xlsx
2025-01-11 23:00 | 0.07 | 0.18 | B/W no 2 (3.00) | JBALB_Jan2025.xlsx
2025-01-12 05:00 | 0.03 | 0.14 | B/W no 6 | JBALB_Jan2025.xlsx
2025-01-12 19:00 | 0.04 | 0.15 | B/W no.4 | JBALB_Jan2025.xlsx
2025-01-13 07:00 | 0.03 | 0.13 | B/W filter no. 1&4 (0700am) | JBALB_Jan2025.xlsx
2025-01-13 21:00 | 0.04 | 0.14 | B/W no 3 (3.50) | JBALB_Jan2025.xlsx
2025-01-15 07:00 | 0.03 | 0.14 | B/W filter no.6 (0045am) | JBALB_Jan2025.xlsx
2025-01-15 21:00 | 0.04 | 0.18 | B/W no. 1,5 | JBALB_Jan2025.xlsx
2025-01-16 07:00 | 0.05 | 0.16 | B/W filter no.3&4 (0045am) | JBALB_Jan2025.xlsx
2025-01-16 17:00 | 0.07 | 0.16 | B/W no.2 | JBALB_Jan2025.xlsx
2025-01-18 07:00 | 0.06 | 0.17 | B/W filter no 6 (0700am) | JBALB_Jan2025.xlsx
2025-01-19 05:00 | 0.1 | 0.19 | B/W no 2 | JBALB_Jan2025.xlsx
2025-01-19 11:00 | 0.04 | 0.17 | B/W no.1 | JBALB_Jan2025.xlsx
2025-01-20 23:00 | 0.03 | 0.16 | B/W filter no. 3&6 (6.00pm) | JBALB_Jan2025.xlsx
2025-01-21 11:00 | 0.04 | 0.17 | B/W no 5+4 | JBALB_Jan2025.xlsx
2025-01-21 21:00 | 0.03 | 0.19 | B/W filter no.1 (10.00pm) | JBALB_Jan2025.xlsx
2025-01-22 23:00 | 0.03 | 0.16 | B/W filter no. 2&6 (10.00pm) | JBALB_Jan2025.xlsx
2025-01-23 15:00 | 0.03 | 0.18 | B/W no 2 | JBALB_Jan2025.xlsx
2025-01-23 21:00 | 0.03 | 0.16 | B/W no 5 | JBALB_Jan2025.xlsx
2025-01-24 23:00 | 0.03 | 0.17 | B/W filter no.1 (10.00pm) | JBALB_Jan2025.xlsx
2025-01-25 11:00 | 0.04 | 0.19 | B/W No.4,6 | JBALB_Jan2025.xlsx
2025-01-25 13:00 | 0.04 | 0.17 | B/W no 3 | JBALB_Jan2025.xlsx
2025-01-25 23:00 | 0.04 | 0.17 | B/W filter no 2 (10.00pm) | JBALB_Jan2025.xlsx
2025-01-26 09:00 | 0.03 | 0.19 | B/W no.5 | JBALB_Jan2025.xlsx
2025-01-27 15:00 | 0.05 | 0.24 | B/W filter no. 3&6 (3.00pm) | JBALB_Jan2025.xlsx
2025-01-28 07:00 | 0.09 | 0.25 | B/W no 3 & 4 | JBALB_Jan2025.xlsx
2025-01-28 15:00 | 0.09 | 0.2 | B/W filter no.5 (4.00pm) | JBALB_Jan2025.xlsx
2025-01-29 11:00 | 1.3 | 0.78 | B/W no 3 | JBALB_Jan2025.xlsx
2025-01-29 15:00 | 1 | 0.85 | B/W filter no.5&6 (2.00pm) | JBALB_Jan2025.xlsx
2025-01-30 07:00 | 0.5 | 0.54 | B/W no.4 | JBALB_Jan2025.xlsx
2025-01-30 19:00 | 0.23 | 0.6 | B/W filter 1&6 (8.50pm) | JBALB_Jan2025.xlsx
2025-01-31 07:00 | 0.3 | 0.48 | B/W no.5 | JBALB_Jan2025.xlsx
2025-02-01 15:00 | 0.4 | 0.53 | B/W filter no.3&3 (11.00pm) | JBALB_Feb2025.xlsx
2025-02-01 17:00 | 0.4 | 1.75 | B/W filter no.1&4 (11.00pm) | JBALB_Feb2025.xlsx
2025-02-01 23:00 | 0.07 | 0.32 | B/W no.6 | JBALB_Feb2025.xlsx
2025-02-02 13:00 | 0.09 | 0.27 | B/W fil. 5 | JBALB_Feb2025.xlsx
2025-02-02 19:00 | 0.16 | 0.31 | B/W fil. 2 | JBALB_Feb2025.xlsx
2025-02-03 17:00 | 0.07 | 0.33 | B/W no 1&7 | JBALB_Feb2025.xlsx
2025-02-03 21:00 | 0.08 | 0.34 | B/W no 4 | JBALB_Feb2025.xlsx
2025-02-04 07:00 | 0.24 | 0.41 | B/W filter no.6 | JBALB_Feb2025.xlsx
2025-02-04 11:00 | 0.36 | 0.54 | B/W filter no.2 (9.45pm) | JBALB_Feb2025.xlsx
2025-02-04 15:00 | 0.36 | 0.6 | B/W filter no.5 (1.00pm) | JBALB_Feb2025.xlsx
2025-02-05 07:00 | 1.1 | 0.73 | B/W filter 2&6 (6.50am) | JBALB_Feb2025.xlsx
2025-02-05 15:00 | 0.52 | 0.84 | B/W no 5 | JBALB_Feb2025.xlsx
2025-02-06 21:00 | 0.08 | 0.22 | B/W no.2,3 | JBALB_Feb2025.xlsx
2025-02-07 07:00 | 0.14 | 5 | B/W filter 1,4,6 (8.00am) | JBALB_Feb2025.xlsx
2025-02-07 19:00 | 0.06 | 5 | B/W no.5 | JBALB_Feb2025.xlsx
2025-02-08 23:00 | 0.1 | 5 | B/W no 2 | JBALB_Feb2025.xlsx
2025-02-09 11:00 | 0.06 | 0.28 | B/W no.1,3 | JBALB_Feb2025.xlsx
2025-02-10 05:00 | 0.08 | 0.29 | B/W no.6 | JBALB_Feb2025.xlsx
2025-02-10 11:00 | 0.07 | 0.3 | B/W no.5,6 | JBALB_Feb2025.xlsx
2025-02-11 23:00 | 0.05 | 0.38 | B/W filter no.1&3 (10.00pm) | JBALB_Feb2025.xlsx
2025-02-13 09:00 | 0.1 | 0.41 | B/W no.5,6 | JBALB_Feb2025.xlsx
2025-02-13 21:00 | 0.09 | 0.47 | B/W no 4 | JBALB_Feb2025.xlsx
2025-02-13 23:00 | 0.09 | 0.47 | B/W filter no.2&3 (10.00pm) | JBALB_Feb2025.xlsx
2025-02-14 09:00 | 0.07 | 0.44 | B/W no.1 | JBALB_Feb2025.xlsx
2025-02-15 23:00 | 0.1 | 0.49 | B/W filter no 2&6 (10.00pm) | JBALB_Feb2025.xlsx
2025-02-16 05:00 | 0.1 | 0.49 | B/W filter 2&5 (5.00am) | JBALB_Feb2025.xlsx
2025-02-16 17:00 | 0.09 | 0.13 | B/W no 1 | JBALB_Feb2025.xlsx
2025-02-16 23:00 | 0.08 | 0.1 | B/W no.4 | JBALB_Feb2025.xlsx
2025-02-17 11:00 | 0.09 | 0.11 | B/W no.1,2 | JBALB_Feb2025.xlsx
2025-02-17 15:00 | 0.04 | 0.13 | B/W filter 3&6 | JBALB_Feb2025.xlsx
2025-02-17 23:00 | 0.04 | 0.13 | B/W no.5 | JBALB_Feb2025.xlsx
2025-02-18 17:00 | 0.05 | 0.11 | B/W no.1 | JBALB_Feb2025.xlsx
2025-02-19 07:00 | 0.12 | 0.11 | B/W fil. 2,3 | JBALB_Feb2025.xlsx
2025-02-19 15:00 | 0.14 | 0.12 | B/W filter no.4&6 (2.00pm) | JBALB_Feb2025.xlsx
2025-02-20 07:00 | 0.05 | 0.11 | B/W fil. no.5 | JBALB_Feb2025.xlsx
2025-02-20 19:00 | 0.13 | 0.13 | B/W filter no.1 (5.00pm) | JBALB_Feb2025.xlsx
2025-02-21 07:00 | 0.14 | 0.14 | B/W fil. no.2 | JBALB_Feb2025.xlsx
2025-02-21 15:00 | 0.03 | 0.14 | B/W filter no.4 (2.00pm) | JBALB_Feb2025.xlsx
2025-02-23 13:00 | 0.09 | 0.13 | B/W fil no 5 | JBALB_Feb2025.xlsx
2025-02-23 19:00 | 0.1 | 0.14 | B/W fil no 1,2 | JBALB_Feb2025.xlsx
2025-02-24 07:00 | 0.13 | 0.14 | B/W filter tank no.3&6 (6.45am) | JBALB_Feb2025.xlsx
2025-02-25 07:00 | 0.09 | 0.17 | B/W filter tank no.2&6 (2.45am) | JBALB_Feb2025.xlsx
2025-02-25 09:00 | 0.07 | 0.17 | B/W filter tank no.1 (2.00pm) | JBALB_Feb2025.xlsx
2025-02-26 05:00 | 0.06 | 0.14 | B/W no 5 | JBALB_Feb2025.xlsx
2025-02-26 07:00 | 0.06 | 0.14 | B/W filter no 3 (8.00am) | JBALB_Feb2025.xlsx
2025-02-26 19:00 | 0.09 | 0.16 | B/W no 6 | JBALB_Feb2025.xlsx
2025-02-27 03:00 | 0.18 | 0.17 | B/W no 2 (3.50) | JBALB_Feb2025.xlsx
2025-02-27 21:00 | 0.06 | 0.15 | B/W no 1 | JBALB_Feb2025.xlsx
2025-02-28 05:00 | 0.05 | 0.12 | B/W no 4 | JBALB_Feb2025.xlsx
2025-02-28 19:00 | 0.05 | 0.15 | B/W no 3 | JBALB_Feb2025.xlsx
2025-03-01 05:00 | 0.1 | 0.14 | B/W no 5 | JBALB_Feb2025.xlsx
2025-03-01 07:00 | 0.23 | 0.23 | B/W filter no 2&6 (2.45am) | JBALB_Mar2025.xlsx
2025-03-02 09:00 | 0.1 | 0.13 | B/W no.1 | JBALB_Mar2025.xlsx
2025-03-02 11:00 | 0.03 | 0.13 | B/W no.4 | JBALB_Mar2025.xlsx
2025-03-03 11:00 | 0.1 | 0.17 | B/W no.3 | JBALB_Mar2025.xlsx
2025-03-03 13:00 | 0.11 | 0.19 | B/W no.2 | JBALB_Mar2025.xlsx
2025-03-03 19:00 | 0.03 | 0.15 | B/W no 6 | JBALB_Mar2025.xlsx
2025-03-03 23:00 | 0.03 | 0.15 | B/W filter no 5 (10.00pm) | JBALB_Mar2025.xlsx
2025-03-04 23:00 | 1 | 0.16 | B/W filter no.1,3&4 (10.00pm) | JBALB_Mar2025.xlsx
2025-03-05 09:00 | 0.12 | 0.17 | B/W no 2 | JBALB_Mar2025.xlsx
2025-03-05 23:00 | 0.08 | 0.18 | B/W filter no.3&6 (10.00pm) | JBALB_Mar2025.xlsx
2025-03-06 17:00 | 0.11 | 0.21 | B/W no 1 | JBALB_Mar2025.xlsx
2025-03-06 21:00 | 0.09 | 0.2 | B/W no 3 | JBALB_Mar2025.xlsx
2025-03-07 09:00 | 0.18 | 0.19 | B/W no. 4? | JBALB_Mar2025.xlsx
2025-03-07 23:00 | 0.1 | 0.21 | B/W filter 5&6 (10.00pm) | JBALB_Mar2025.xlsx
2025-03-09 11:00 | 0.2 | 0.25 | B/W no 2/3 | JBALB_Mar2025.xlsx
2025-03-09 15:00 | 0.08 | 0.22 | B/W no 1 | JBALB_Mar2025.xlsx
2025-03-10 07:00 | 0.1 | 0.17 | B/W fil. 4 & 5 | JBALB_Mar2025.xlsx
2025-03-10 15:00 | 0.14 | 0.21 | B/W filter no.6 (2.00pm) | JBALB_Mar2025.xlsx
2025-03-11 07:00 | 0.27 | 0.27 | B/W Fil. 2 | JBALB_Mar2025.xlsx
2025-03-11 11:00 | 0.07 | 0.23 | B/W Fil. 3 | JBALB_Mar2025.xlsx
2025-03-11 15:00 | 0.08 | 0.44 | B/W filter no1 (2.00pm) | JBALB_Mar2025.xlsx
2025-03-12 15:00 | 0.22 | 0.36 | B/W filter no 3&5 (2.00pm) | JBALB_Mar2025.xlsx
2025-03-12 23:00 | 0.19 | 0.26 | B/W no.4 | JBALB_Mar2025.xlsx
2025-03-13 07:00 | 0.31 | 0.26 | B/W Fil. 1 | JBALB_Mar2025.xlsx
2025-03-13 15:00 | 0.16 | 0.25 | B/W filter no.6 (2.00pm) | JBALB_Mar2025.xlsx
2025-03-14 11:00 | 0.89 | 0.53 | B/W filter No.2&5 | JBALB_Mar2025.xlsx
2025-03-14 13:00 | 1.89 | 0.55 | B/W filter tank no.3 (2.00pm) | JBALB_Mar2025.xlsx
2025-03-15 11:00 | 0.29 | 0.29 | B/W Fil no.1 | JBALB_Mar2025.xlsx
2025-03-15 15:00 | 0.2 | 0.27 | B/W filter 4&6 (2.00pm) | JBALB_Mar2025.xlsx
2025-03-16 09:00 | 0.54 | 0.33 | B/W Fil. No.2 | JBALB_Mar2025.xlsx
2025-03-16 11:00 | 0.04 | 0.26 | B/W Fil. No.3 | JBALB_Mar2025.xlsx
2025-03-16 15:00 | 0.05 | 0.2 | B/W no.5 | JBALB_Mar2025.xlsx
2025-03-17 07:00 | 0.14 | 0.19 | B/W filter no.1 | JBALB_Mar2025.xlsx
2025-03-17 23:00 | 0.4 | 0.27 | B/W no 2 & 4 | JBALB_Mar2025.xlsx
2025-03-19 05:00 | 0.43 | 0.47 | B/W no 3 | JBALB_Mar2025.xlsx
2025-03-19 07:00 | 0.43 | 0.45 | B/W filter 1&6 | JBALB_Mar2025.xlsx
2025-03-19 23:00 | 0.08 | 0.33 | B/W no 3 | JBALB_Mar2025.xlsx
2025-03-20 07:00 | 0.2 | 0.19 | B/W filter no.4 (6.50am) | JBALB_Mar2025.xlsx
2025-03-20 21:00 | 0.72 | 0.3 | B/W no.3 | JBALB_Mar2025.xlsx
2025-03-21 07:00 | 0.27 | 0.36 | B/W filter no.6 (6.50am) | JBALB_Mar2025.xlsx
2025-03-21 11:00 | 0.04 | 0.27 | B/W filter no.2&5 (8.40am) | JBALB_Mar2025.xlsx
2025-03-22 07:00 | 0.39 | 0.2 | B/W filter no.3&4 (6.45am) | JBALB_Mar2025.xlsx
2025-03-22 21:00 | 0.59 | 0.24 | B/W no 2 | JBALB_Mar2025.xlsx
2025-03-24 09:00 | 1.61 | 1.5 | B/W no.3 | JBALB_Mar2025.xlsx
2025-03-24 19:00 | 0.7 | 0.73 | B/W 2 | JBALB_Mar2025.xlsx
2025-03-24 23:00 | 0.5 | 0.41 | B/W filter no.1 & 4 (10.00pm) | JBALB_Mar2025.xlsx
2025-03-25 23:00 | 0.45 | 0.4 | B/W filter no.3&6 (10.00pm) | JBALB_Mar2025.xlsx
2025-03-26 09:00 | 0.77 | 0.53 | B/W no 2/5 | JBALB_Mar2025.xlsx
2025-03-26 23:00 | 0.29 | 0.27 | B/W filter no.1 (9.55am) | JBALB_Mar2025.xlsx
2025-03-27 11:00 | 0.25 | 0.24 | B/W no 4 | JBALB_Mar2025.xlsx
2025-03-27 23:00 | 0.25 | 0.24 | B/W filter no 2&8 (10:00pm) | JBALB_Mar2025.xlsx
2025-03-28 11:00 | 0.09 | 0.12 | B/W no.6 | JBALB_Mar2025.xlsx
2025-03-28 21:00 | 0.17 | 0.13 | B/W filter no.5 | JBALB_Mar2025.xlsx
2025-03-29 13:00 | 0.13 | 0.18 | B/W No.1 | JBALB_Mar2025.xlsx
2025-03-29 15:00 | 0.14 | 0.17 | B/W Fil.2 | JBALB_Mar2025.xlsx
2025-03-29 23:00 | 0.24 | 0.14 | B/W filter no.3 (10.00pm) | JBALB_Mar2025.xlsx
2025-03-30 11:00 | 0.07 | 0.1 | B/W No.4 | JBALB_Mar2025.xlsx
2025-03-31 07:00 | 0.24 | 0.15 | B/W Fil. 3 & 6 | JBALB_Mar2025.xlsx
2025-03-31 13:00 | 0.21 | 0.18 | B/W Fil. 1,2 | JBALB_Mar2025.xlsx
2025-04-01 09:00 | 0.08 | 0.1 | B/W filter no.3 | JBALB_Apr2025.xlsx
2025-04-02 07:00 | 0.16 | 0.17 | B/W no.2 | JBALB_Apr2025.xlsx
2025-04-02 15:00 | 0.08 | 0.13 | B/W filter 3,6 (2.00pm) | JBALB_Apr2025.xlsx
2025-04-03 05:00 | 0.36 | 0.18 | B/W no.1 | JBALB_Apr2025.xlsx
2025-04-03 13:00 | 0.11 | 0.13 | B/W | JBALB_Apr2025.xlsx
2025-04-03 15:00 | 0.12 | 0.14 | Filter no.2 (2.00pm) | JBALB_Apr2025.xlsx
2025-04-03 23:00 | 0.05 | 0.12 | B/W no.4 | JBALB_Apr2025.xlsx
2025-04-04 07:00 | 0.08 | 0.15 | B/W Fil. 3 & 5 | JBALB_Apr2025.xlsx
2025-04-04 15:00 | 0.1 | 0.14 | B/W filter no.6 (2.00pm) | JBALB_Apr2025.xlsx
2025-04-05 15:00 | 0.27 | 0.2 | B/W filter no.1&2 (2.00pm) | JBALB_Apr2025.xlsx
2025-04-06 23:00 | 0.18 | 0.17 | B/W Fil No. 4,6 | JBALB_Apr2025.xlsx
2025-04-07 07:00 | 0.29 | 0.19 | B/W filter no.2&3 (5.45am) | JBALB_Apr2025.xlsx
2025-04-07 15:00 | 0.3 | 0.23 | B/W no.5 | JBALB_Apr2025.xlsx
2025-04-08 15:00 | 0.51 | 0.33 | B/W No. 1,4 | JBALB_Apr2025.xlsx
2025-04-08 21:00 | 0.46 | 0.31 | B/W No. 2,3 | JBALB_Apr2025.xlsx
2025-04-09 05:00 | 0.05 | 0.14 | B/W No. 5 | JBALB_Apr2025.xlsx
2025-04-09 09:00 | 0.15 | 0.13 | B/W filter no.5 (8:30pm) | JBALB_Apr2025.xlsx
2025-04-10 07:00 | 0.45 | 0.24 | B/W filter no.3 (6.45am) | JBALB_Apr2025.xlsx
2025-04-10 15:00 | 0.12 | 0.21 | B/W no.4 | JBALB_Apr2025.xlsx
2025-04-11 07:00 | 0.28 | 0.26 | B/W filter 3,6 (2.35am) | JBALB_Apr2025.xlsx
2025-04-11 15:00 | 0.36 | 0.23 | B/W no.2 | JBALB_Apr2025.xlsx
2025-04-12 05:00 | 0.31 | 0.21 | B/W no 1 | JBALB_Apr2025.xlsx
2025-04-12 15:00 | 0.34 | 0.24 | B/W no.2,4,5 | JBALB_Apr2025.xlsx
2025-04-13 05:00 | 0.18 | 0.22 | B/W no 6 | JBALB_Apr2025.xlsx
2025-04-13 23:00 | 0.56 | 0.29 | B/W no 2 | JBALB_Apr2025.xlsx
2025-04-14 09:00 | 0.09 | 0.19 | B/W no 4,5 | JBALB_Apr2025.xlsx
2025-04-14 23:00 | 0.28 | 0.3 | B/W filter no.1 3&6 (10.00pm) | JBALB_Apr2025.xlsx
2025-04-15 09:00 | 0.31 | 0.26 | B/W no.2 | JBALB_Apr2025.xlsx
2025-04-16 09:00 | 0.52 | 0.35 | B/W no 1,4,5 | JBALB_Apr2025.xlsx
2025-04-16 23:00 | 0.57 | 0.35 | B/W filter no.2 & 6 (9.45pm) | JBALB_Apr2025.xlsx
2025-12-03 13:00 | 0.08 | 0.25 | B/W No.1,6 | JBALB_Dec2025.xlsx
2025-12-03 19:00 | 0.04 | 0.26 | B/W 2,5 | JBALB_Dec2025.xlsx
2025-12-03 23:00 | 0.04 | 0.26 | B/W No.3&4 | JBALB_Dec2025.xlsx
2025-12-05 23:00 | 0.04 | 0.26 | B/W No.6 | JBALB_Dec2025.xlsx
2025-12-06 17:00 | 0.14 | 0.26 | B/W No.2 | JBALB_Dec2025.xlsx
2025-12-06 23:00 | 0.03 | 0.25 | B/W No.1/3 | JBALB_Dec2025.xlsx
2025-12-07 07:00 | 0.03 | 0.24 | B/W 4/5 | JBALB_Dec2025.xlsx
2025-12-08 15:00 | 0.03 | 0.23 | B/W No.1 | JBALB_Dec2025.xlsx
2025-12-09 15:00 | 0.04 | 0.22 | B/W fil No.2,3 | JBALB_Dec2025.xlsx
2025-12-09 19:00 | 0.07 | 0.22 | B/W No.5 | JBALB_Dec2025.xlsx
2025-12-10 19:00 | 0.03 | 0.2 | B/W 4&6 | JBALB_Dec2025.xlsx
2025-12-12 07:00 | 0.04 | 0.18 | B/W No.2 | JBALB_Dec2025.xlsx
2025-12-12 23:00 | 0.03 | 0.23 | B/W No.1,3 | JBALB_Dec2025.xlsx
2025-12-13 15:00 | 0.04 | 0.26 | B/W Noi.5/6 | JBALB_Dec2025.xlsx
2025-12-14 07:00 | 0.03 | 0.28 | B/W No.4 | JBALB_Dec2025.xlsx
2025-12-14 15:00 | 0.03 | 0.31 | B/W No.2 | JBALB_Dec2025.xlsx
2025-12-15 07:00 | 4.5 | 0.84 | B/W No.3,4 | JBALB_Dec2025.xlsx
2025-12-15 15:00 | 0.06 | 0.45 | B/W No.1 | JBALB_Dec2025.xlsx
2025-12-16 07:00 | 0.09 | 0.35 | B/W fil No.2 | JBALB_Dec2025.xlsx
2025-12-16 11:00 | 0.04 | 0.36 | B/W No.3 | JBALB_Dec2025.xlsx
2025-12-17 15:00 | 1.75 | 0.76 | B/W No.1,4,6 | JBALB_Dec2025.xlsx
2025-12-18 19:00 | 2.34 | 1.72 | B/W No.6 | JBALB_Dec2025.xlsx
2025-12-19 15:00 | 1.13 | 1.03 | B/W No.1,4,6 | JBALB_Dec2025.xlsx
2025-12-19 17:00 | 0.6 | 0.98 | B/W No.2 | JBALB_Dec2025.xlsx
2025-12-19 21:00 | 0.76 | 0.75 | B/W No.3 | JBALB_Dec2025.xlsx
2025-12-20 13:00 | 0.46 | 0.97 | B/W No.5/6 | JBALB_Dec2025.xlsx